# Project Context & Architecture

## Purpose

This is an open-source tool for automated rodent EEG seizure detection, designed for multi-lab distribution. It is intended to accompany a methods paper. The core differentiator is that each lab trains the detection algorithm on their own annotated data rather than relying on a one-size-fits-all pre-trained model. The tool must work across different epilepsy models, species, strains, hardware setups, and recording configurations.

## Dataset Characteristics

| Parameter | Value / Notes |
| --- | --- |
| Animals per recording group | Variable: 1–8 (never hardcode 8) |
| EEG channels per animal | 1 |
| Activity channels per animal | 1 (pre-computed activity index, 2 Hz) |
| EEG sampling rate | 2000 Hz |
| File format | .adicht or EDF — all channels in one file |
| EDF structure | EEG channels first (1-8 in a 16 channel file), activity channels second (9-16). |
| Recording duration | Flexible, at most 24 hours per file |
| Estimated EDF file size (8 animals) | ~2.8 GB per 24h file |
| Video | Separate MP4, one per day, synced to start time (time 0 = recording start) |
| Video content | Single wide-angle camera covering all animal cages, labeled by channel number |
| Data source | LabChart (ADInstruments) |

## Core Architectural Rules

These rules apply to every phase and must never be violated:

- NEVER hardcode the number of animals. All channel counts, loops, and array sizes must be driven dynamically by metadata.

- NEVER use preload=True when loading EDF files with MNE. Always use preload=False and access data in chunks.

- ALL classifier references must go through an abstract SeizureClassifier interface so the backend model can be swapped without changing the rest of the codebase.

- ALL animal/treatment metadata must be loaded from JSON files generated from the Excel template — never hardcoded.

- Blinding state must propagate everywhere: UI labels, plots, exports, annotation logs.

- Every annotation must be logged with: annotator ID, timestamp, blinding state, event details.

## Folder Structure — Standard Convention

All data must follow this folder structure. The app discovers recordings automatically by walking this tree:

/eeg_data

/cohort_A                        # e.g. NPY_Y2_AAV9 experiment

metadata.json                # cohort-level info

/group_1                     # 8 animals recorded simultaneously

metadata.json            # group-level info with channel mapping

/2024-01-15

recording.edf

video.mp4

/2024-01-16

recording.edf

video.mp4

/group_2

...

/cohort_B

...

## Metadata JSON Schema

### Cohort-level metadata.json

{

"cohort_id": "A",

"experiment": "NPY_Y2_AAV9",

"institution": "Lund University",

"injection_date": "2024-01-14",

"model": "kainate",

"species": "Mouse",

"strain": "C57BL/6",

"eeg_system": "LabChart",

"amplifier": "",

"sampling_rate_hz": 2000,

"electrode_type": "tungsten",

"electrode_placement": "hippocampal",

"notes": ""

}

### Group-level metadata.json

{

"group_id": "A_group_1",

"cohort": "A",

"animals": {

"ch1": {"id": "A01", "treatment": "AAV9-NPY", "sex": "M", "weight_g": 28,

"dob": "2023-10-01", "injection_date": "2024-01-14", "notes": ""},

"ch2": {"id": "A02", "treatment": "control",  "sex": "M", "weight_g": 27,

"dob": "2023-10-01", "injection_date": "2024-01-14", "notes": ""},

"ch3": { ... }

// as many animals as recorded — 1 to 8

}

}

## Technology Stack

| Component | Technology | Notes |
| --- | --- | --- |
| Frontend (Phase 1) | Streamlit | Temporary — migrate in Phase 2 |
| Frontend (Phase 2+) | Dash + dash-mantine-components or dash-bootstrap-components | Final framework |
| EEG processing | MNE-Python | Always preload=False |
| Signal processing | NumPy, SciPy |  |
| Visualization | Plotly | Interactive traces and spectrograms |
| Video processing | ffmpeg (subprocess) | Clip extraction on demand |
| ML — Phase 1 | scikit-learn RandomForestClassifier | Serialized with joblib |
| ML — Phase 2+ | Abstract interface, CNN optional later | ONNX for cross-platform model export |
| Metadata | JSON (generated from Excel template) |  |
| Annotation storage | JSON per recording day | Alongside EDF/MP4 in folder |
| Distribution | Docker container |  |
| Activity interpolation | scipy.interpolate.interp1d | 2 Hz → 2000 Hz upsampling |

PHASE 1: Detection Optimisation (Streamlit)

Complete this phase before starting the Dash migration. The goal is a stable, well-performing detection backend. All code written here migrates directly to Phase 2 — only the UI layer changes.

## 1.1 Audit: Remove Hardcoded Animal Counts

Before anything else, search the entire codebase for any hardcoded references to 8 animals, 16 channels, or fixed array sizes. Replace all with dynamic equivalents driven by metadata:

# WRONG

animals = ['A1', 'A2', 'A3', 'A4', 'A5', 'A6', 'A7', 'A8']

eeg_channels = raw.ch_names[:8]

# CORRECT

animals = list(metadata['animals'].keys())   # however many are in metadata

eeg_channels = [metadata['animals'][a]['eeg_channel'] for a in animals]

## 1.2 Memory-Safe EDF Loading

Replace all instances of preload=True with preload=False. Implement chunk-based processing throughout:

# WRONG — crashes on 24h files (~2.8 GB)

raw = mne.io.read_raw_edf('recording.edf', preload=True)

# CORRECT

raw = mne.io.read_raw_edf('recording.edf', preload=False)

Process data in 30-minute chunks. Never load a full channel into memory at once:

CHUNK_SEC = 1800   # 30 minutes

def process_animal(raw, animal_id, channels, baseline_rms, params):

sfreq         = raw.info['sfreq']

total_samples = raw.n_times

chunk_samples = int(CHUNK_SEC * sfreq)

all_events    = []

for start in range(0, total_samples, chunk_samples):

end          = min(start + chunk_samples, total_samples)

eeg, _       = raw[channels['eeg'],      start:end]

act, _       = raw[channels['activity'], start:end]

act_up       = align_activity_to_eeg(act[0], 2.0, end-start, sfreq)

events       = detect_in_chunk(

eeg[0], act_up, baseline_rms,

start_offset_sec=start/sfreq, **params

)

all_events.extend(events)

return all_events

Add a memory diagnostic toggle for development use:

DEBUG_MEMORY = False   # set True to profile

def log_memory(label):

if not DEBUG_MEMORY: return

import psutil, os

mb = psutil.Process(os.getpid()).memory_info().rss / 1024**2

print(f'[MEM] {label}: {mb:.1f} MB')

## 1.3 Percentile-Based Baseline RMS

Remove MAD-based baseline. 
Remove HVSW, HPD and electroclinical seizure classification for now.

Add to the current whole-recording RMS baseline a percentile-based approach. The whole-recording baseline is contaminated by seizure activity, causing the threshold to be too low in low-seizure animals, producing false positives.

def compute_percentile_baseline(eeg_signal, sfreq,

window_sec=10.0, percentile=15):

'''

RMS computed on short windows across the recording.

Nth percentile used as baseline — robust to seizure contamination

because seizures are rare relative to total recording length.

Recommended percentile: 10-20. Default: 15.

'''

win   = int(window_sec * sfreq)

n     = len(eeg_signal) // win

rms_v = [np.sqrt(np.mean(eeg_signal[i*win:(i+1)*win]**2)) for i in range(n)]

return np.percentile(rms_v, percentile)

## 1.4 Rolling Adaptive Baseline RMS

A second baseline method that adapts to slow amplitude drift over multi-day recordings (electrode impedance changes, animal weight gain). Recomputes baseline from a rolling lookback window:

def compute_rolling_baseline(eeg_signal, sfreq,

window_sec=1800.0, step_sec=300.0):

'''

Returns list of (time_sec, baseline_rms) tuples.

Default: 30-min lookback window, updated every 5 min.

'''

win_s  = int(window_sec * sfreq)

step_s = int(step_sec   * sfreq)

result = []

for start in range(0, len(eeg_signal), step_s):

w_start = max(0, start - win_s)

window  = eeg_signal[w_start:start] if start > 0 else eeg_signal[:step_s]

result.append((start / sfreq, np.sqrt(np.mean(window**2))))

return result

def get_baseline_at_time(baselines, time_sec):

times = [t for t, _ in baselines]

idx   = max(0, np.searchsorted(times, time_sec, side='right') - 1)

return baselines[idx][1]

⚠ Note: For rolling baseline with preload=False: compute baseline in a first pass through the file, then detect events in a second pass. Never hold the full signal in memory.

## 1.5 Activity Channel Alignment

The activity channel is sampled at 2 Hz. Upsample to match EEG sample rate before use in artifact rejection:

from scipy.interpolate import interp1d

def align_activity_to_eeg(act_signal, act_sfreq, n_eeg_samples, eeg_sfreq):

'''

Upsample 2 Hz activity index to EEG sample rate via linear interpolation.

Returns array of length n_eeg_samples.

'''

act_t = np.arange(len(act_signal)) / act_sfreq

eeg_t = np.arange(n_eeg_samples)  / eeg_sfreq

f     = interp1d(act_t, act_signal, kind='linear', fill_value='extrapolate')

return f(eeg_t)

## 1.6 Movement Artifact Rejection

Flag candidate seizure events that co-occur with elevated activity. Flag rather than silently discard — the user reviews flagged events during annotation:

def compute_movement_threshold(act_signal, percentile=85):

return np.percentile(act_signal, percentile)

def is_movement_artifact(start_sec, end_sec, act_aligned,

eeg_sfreq, movement_threshold, pad_sec=2.0):

s = max(0, int((start_sec - pad_sec) * eeg_sfreq))

e = min(len(act_aligned), int((end_sec + pad_sec) * eeg_sfreq))

return float(np.mean(act_aligned[s:e])) > movement_threshold

## 1.7 Event Data Structure

All detected events must use this schema. Do not break this structure — it is used across detection, annotation, ML training, and export:

event = {

"event_id":        "A01_20240115_004523",  # unique: animal_date_offsetsec

"animal_id":       "A01",

"channel":         "ch1",

"date":            "2024-01-15",

"start_sec":       4523.7,                 # seconds from EDF start

"end_sec":         4541.2,

"duration_sec":    17.5,

"baseline_rms":    42.3,

"peak_amplitude":  387.1,

"movement_flag":   False,                  # True = co-occurs with movement

"confidence":      "high",                 # high / low

"annotation": {

"confirmed":        null,              # true/false/null

"behavioural":      null,              # true/false/null/unclear

"start_sec_adj":    null,              # adjusted start if modified

"end_sec_adj":      null,              # adjusted end if modified

"annotator":        null,

"blinded":          null,              # was UI blinded during annotation

"timestamp":        null,

"notes":            ""

}

}

## 1.8 Detection Function Interface

Refactor the existing detection function to accept baseline_rms as a parameter rather than computing it internally. Keep all existing selectable filters (duration, intra-seizure spike frequency) unchanged:

def detect_in_chunk(eeg_chunk, act_aligned, baseline_rms,

rms_multiplier, min_duration_sec,

min_spike_freq, movement_threshold,

reject_movement, start_offset_sec=0.0):

threshold = baseline_rms * rms_multiplier

# ... existing detection logic ...

# For each candidate event, add movement_flag field

# Return list of event dicts matching schema above

## 1.9 Streamlit UI Additions for Phase 1

Add these controls to the Streamlit sidebar. Store all values in st.session_state:

| Control | Widget | Default | Range |
| --- | --- | --- | --- |
| Baseline method | st.radio | Percentile | Percentile / Rolling adaptive |
| Percentile value | st.slider (if Percentile) | 15 | 5–30 |
| Rolling window | st.slider (if Rolling) | 30 min | 10–60 min |
| Rolling step | st.slider (if Rolling) | 5 min | 1–15 min |
| RMS multiplier | st.slider | existing | 2.0–8.0, step 0.1 |
| Movement rejection | st.toggle | On | On / Off |
| Movement threshold mode | st.radio (if On) | Auto | Auto / Manual |
| Auto threshold percentile | st.slider (if Auto) | 85 | 75–95 |
| Manual threshold | st.slider (if Manual) | — | signal units |

## 1.10 Phase 1 Implementation Order

- Audit and remove all hardcoded animal/channel counts

- Verify preload=False in all EDF loading calls

- Implement compute_percentile_baseline, wire to detection function

- Add Streamlit UI controls for baseline method

- Test on known low-activity vs high-activity animal — compare false positive rates

- Implement align_activity_to_eeg and is_movement_artifact

- Add movement_flag field to all detected events

- Add movement rejection UI controls

- Implement compute_rolling_baseline and get_baseline_at_time

- Add rolling baseline UI controls

- Run DEBUG_MEMORY diagnostic on 1.5h file; extrapolate to 24h

⚠ Note: Do NOT modify duration filter, intra-seizure spike frequency filter, visualization, or CSV export during this phase.